# Fire Safety

Example of potential ignition sources

| Smoking Materials; e.g. cigarettes, lighters and matches. | Naked Flames. | Electrical, gas or oil-fired heaters (fixed or portable). |
| --- | --- | --- |
| Hot processes, such as welding, cutting or grinding. | Engines, generators and boilers (fixed or portable). | Cooking facilities (permanent or temporary). |
| Machinery. | Faulty, misused and damaged electrical equipment and/or associated wiring installations. | Lighting equipment (fixed or portable). |
| Hot surfaces and the obstruction of equipment ventilation; e.g. photocopying and printing facilities | Friction from machinery bearings and drive belts. | Chemical reaction and /or storage incompatibility. |
| Static Electricity. | Metallic impact. | Arson. |